ARCNET.STUDIO

Roof Design for Hot Climates

# Part 1 — Hot Climate Roof Design Checklist & Planning Guide

A standalone checklist and planning guide for homeowners, architects and builders evaluating roof performance in hot climates. This resource is designed for use during design review, site audits, or retrofit planning.

## Roof Heat-Gain Assessment

Evaluate the following before selecting a roof strategy:

- Roof orientation relative to sun path

- Roof colour and surface finish

- Degree of surface exposure (shaded vs. unshaded)

- Roof material and assembly type

- Ceiling condition and continuity

- Presence and quality of insulation

- Presence and quality of ventilation

## Existing Roof Audit

| Roof Element | Existing Condition | Problem | Possible Improvement |
| --- | --- | --- | --- |
| Roof surface |  |  |  |
| Insulation |  |  |  |
| Ceiling |  |  |  |
| Ventilation openings |  |  |  |
| Overhangs / shading |  |  |  |
| Drainage |  |  |  |

## 3. Climate Assessment

Identify which climate category applies to the site:

☐  Hot-humid

☐  Hot-arid

☐  Tropical / monsoon

☐  Warm temperate

## Roof Strategy Planner

Roof form: _______________________________________________

Insulation approach: _______________________________________________

Reflective surface (type): _______________________________________________

Ventilation strategy: _______________________________________________

Shading elements: _______________________________________________

Roof-level landscape: _______________________________________________

Drainage strategy: _______________________________________________

## 5. Roof Ventilation Checklist

☐  Eave openings provided

☐  Ridge openings provided

☐  Roof cavity allows continuous airflow

☐  High-level outlets included

☐  Moisture protection at openings

☐  Insect / rain screening at openings

## 6. Roof Insulation Checklist

☐  Insulation location confirmed within assembly

☐  Thickness / specification matched to a relevant local standard

☐  Continuity checked across full roof area

☐  Installation quality inspected (no gaps / compression)

☐  Thermal bridges identified and addressed

☐  Ceiling interface detailed correctly

Note: This checklist intentionally does not prescribe universal insulation thicknesses — confirm these against a relevant local building standard or climate-specific guidance.

## 7. Roof Maintenance Planner

☐  Waterproofing inspected annually

☐  Drainage paths cleared of debris

☐  Gutters checked before rainy season

☐  Flashings inspected for damage

☐  Ventilation openings kept clear

☐  Roof surface (reflective coating, etc.) checked for wear

☐  Planting / green roof maintained on schedule

☐  Irrigation system checked for leaks / efficiency

## 8. Final Roof Performance Checklist

Confirm each stage below has been considered and coordinated with the others before finalising the design:

Climate  →  Solar Exposure  →  Roof Form  →  Surface  →  Insulation  →  Ventilation  →  Shading  →  Drainage  →  Maintenance