# Thermal Comfort Planning Checklist

Use this checklist to review a new or existing home. It is a prompt for thinking about strategies as one system, not a guarantee of performance. Effectiveness depends on climate, orientation, construction, operation and site.

PART 01 — CLIMATE

☐	Climate identified

☐	Seasonal conditions understood

☐	Hot periods identified

☐	Humidity considered

☐	Night-time conditions checked

PART 02 — SOLAR CONTROL

☐	Roof exposure reviewed

☐	East/west glazing assessed

☐	External shading considered

☐	Verandah/balcony considered

☐	Landscape shading considered

PART 03 — ENVELOPE

☐	Roof performance assessed

☐	Wall heat gain considered

☐	Glazing assessed

☐	Insulation considered

☐	Thermal bridges reviewed

PART 04 — AIRFLOW

☐	Cross ventilation assessed

☐	Window positions reviewed

☐	Air path identified

☐	Ceiling fans considered

☐	Stack ventilation considered

PART 05 — THERMAL MASS

☐	Thermal mass appropriate to climate

☐	Night cooling potential assessed

☐	Heat-release pathway considered

PART 06 — MICROCLIMATE

☐	Trees

☐	Courtyard

☐	Shading

☐	Ground surfaces

☐	Outdoor living areas

PART 07 — OCCUPANT CONTROL

☐	Operable windows

☐	Adjustable shading

☐	Fan control

☐	Multiple thermal zones

☐	Seasonal operating strategy

FINAL QUESTION

What combination of passive strategies is appropriate for this specific climate, site and household?

Notes